## Original grid
Resource | Zone | THERM | MUST_RUN | STOR | FLEX | HYDRO | VRE | LDS | Num_VRE_Bins | New_Build | Existing_Cap_MW | Existing_Cap_MWh | Existing_Charge_Cap_MW | Max_Cap_MW | Max_Cap_MWh | Max_Charge_Cap_MW | Min_Cap_MW | Min_Cap_MWh | Min_Charge_Cap_MW | Inv_Cost_per_MWyr | Inv_Cost_per_MWhyr | Inv_Cost_Charge_per_MWyr | Fixed_OM_Cost_per_MWyr | Fixed_OM_Cost_per_MWhyr | Fixed_OM_Cost_Charge_per_MWyr | Var_OM_Cost_per_MWh | Var_OM_Cost_per_MWh_In | Heat_Rate_MMBTU_per_MWh | Fuel | Cap_Size | Start_Cost_per_MW | Start_Fuel_MMBTU_per_MW | Up_Time | Down_Time | Ramp_Up_Percentage | Ramp_Dn_Percentage | Hydro_Energy_to_Power_Ratio | Min_Power | Self_Disch | Eff_Up | Eff_Down | Min_Duration | Max_Duration | Reg_Max | Rsv_Max | Reg_Cost | Rsv_Cost | Resource_Type | CapRes_1 | CapRes_2 | CapRes_3 | ESR_1 | ESR_2 | region | cluster | VRE_Trans_Cost_per_MWyr | CCS_Rate | MGA
ERC_PHDL_onshore_wind_turbine_1 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 588 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.773 | None | 294 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Onshore Wind Turbine | 0 | 0 | 0.8 | 1 | 1 | ERC_PHDL | 1 | 0 | 0 | 1
ERC_REST_conventional_hydroelectric_1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | 483.9 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 46475 | 0 | 0 | 0 | 0 | 8.779 | None | 19.356 | 0 | 0 | 0 | 0 | 0.083 | 0.083 | 0 | 0.0069 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Conventional Hydroelectric | 0.8 | 0 | 0 | 0 | 1 | ERC_REST | 1 | 0 | 0 | 1
ERC_REST_natural_gas_fired_combined_cycle_1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13281.507 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 9668 | 0 | 0 | 3.567 | 0 | 7.293 | west_south_central_reference_naturalgas | 457.983 | 90.959 | 2 | 6 | 6 | 1 | 1 | 1 | 0.447 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | Natural Gas Fired Combined Cycle | 0.93 | 0 | 0 | 0 | 0 | ERC_REST | 1 | 0 | 0 | 1
ERC_REST_natural_gas_fired_combined_cycle_2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3524.906 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 16291 | 0 | 0 | 4.495 | 0 | 8.975 | west_south_central_reference_naturalgas | 251.779 | 90.959 | 2 | 6 | 6 | 1 | 1 | 1 | 0.475 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | Natural Gas Fired Combined Cycle | 0.93 | 0 | 0 | 0 | 0 | ERC_REST | 2 | 0 | 0 | 1
ERC_REST_natural_gas_fired_combined_cycle_3 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14390.01 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 12182 | 0 | 0 | 3.515 | 0 | 7.343 | west_south_central_reference_naturalgas | 479.667 | 90.959 | 2 | 6 | 6 | 1 | 1 | 1 | 0.445 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | Natural Gas Fired Combined Cycle | 0.93 | 0 | 0 | 0 | 0 | ERC_REST | 3 | 0 | 0 | 1
ERC_REST_natural_gas_fired_combined_cycle_4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3481.3 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 10538.184 | 0 | 0 | 3.549 | 0 | 10.543 | west_south_central_reference_naturalgas | 696.26 | 90.959 | 2 | 6 | 6 | 1 | 1 | 1 | 0.555 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | Natural Gas Fired Combined Cycle | 0.93 | 0 | 0 | 0 | 0 | ERC_REST | 4 | 0 | 0 | 1
ERC_REST_natural_gas_fired_combustion_turbine_1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3640.896 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 10513.718 | 0 | 0 | 5.06 | 0 | 11.011 | west_south_central_reference_naturalgas | 56.889 | 117.941 | 3.5 | 1 | 1 | 1 | 1 | 1 | 0.446 | 0 | 1 | 1 | 0 | 0 | 0.63 | 1.26 | 0 | 0 | Natural Gas Fired Combustion Turbine | 0.93 | 0 | 0 | 0 | 0 | ERC_REST | 1 | 0 | 0 | 1
ERC_REST_natural_gas_fired_combustion_turbine_2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 908.3 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 13830 | 0 | 0 | 5.06 | 0 | 10.288 | west_south_central_reference_naturalgas | 36.332 | 117.941 | 3.5 | 1 | 1 | 1 | 1 | 1 | 0.493 | 0 | 1 | 1 | 0 | 0 | 0.63 | 1.26 | 0 | 0 | Natural Gas Fired Combustion Turbine | 0.93 | 0 | 0 | 0 | 0 | ERC_REST | 2 | 0 | 0 | 1
ERC_REST_nuclear_1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2660 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 190920 | 0 | 0 | 0 | 0 | 10.446 | west_south_central_reference_uranium | 1330 | 1000 | 0 | 24 | 24 | 0.25 | 0.25 | 1 | 0.5 | 0 | 1 | 1 | 0 | 0 | 0.041667 | 0.083333 | 0 | 0 | Nuclear | 0.93 | 0 | 0 | 0 | 1 | ERC_REST | 1 | 0 | 0 | 1
ERC_REST_nuclear_2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2460 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 190920 | 0 | 0 | 0 | 0 | 10.446 | west_south_central_reference_uranium | 1230 | 1000 | 0 | 24 | 24 | 0.25 | 0.25 | 1 | 0.5 | 0 | 1 | 1 | 0 | 0 | 0.041667 | 0.083333 | 0 | 0 | Nuclear | 0.93 | 0 | 0 | 0 | 1 | ERC_REST | 2 | 0 | 0 | 1
ERC_REST_onshore_wind_turbine_1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 2812.8 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.21 | None | 234.4 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Onshore Wind Turbine | 0.8 | 0 | 0 | 1 | 1 | ERC_REST | 1 | 0 | 0 | 1
ERC_REST_small_hydroelectric_1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 9.552 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 46475 | 0 | 0 | 0 | 0 | 8.778 | None | 0.597 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.0069 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Small Hydroelectric | 0 | 0 | 0 | 1 | 1 | ERC_REST | 1 | 0 | 0 | 1
ERC_REST_solar_photovoltaic_1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 6563.28 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.192 | None | 82.041 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Solar Photovoltaic | 0.8 | 0 | 0 | 1 | 1 | ERC_REST | 1 | 0 | 0 | 1
ERC_WEST_natural_gas_fired_combined_cycle_1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1462.398 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 9668 | 0 | 0 | 3.567 | 0 | 6.41 | west_south_central_reference_naturalgas | 243.733 | 90.959 | 2 | 6 | 6 | 1 | 1 | 1 | 0.3 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | Natural Gas Fired Combined Cycle | 0 | 0.93 | 0 | 0 | 0 | ERC_WEST | 1 | 0 | 0 | 1
ERC_WEST_natural_gas_fired_combined_cycle_2 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 532.2 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 9668 | 0 | 0 | 3.567 | 0 | 8.512 | west_south_central_reference_naturalgas | 266.1 | 90.959 | 2 | 6 | 6 | 1 | 1 | 1 | 0.631 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | Natural Gas Fired Combined Cycle | 0 | 0.93 | 0 | 0 | 0 | ERC_WEST | 2 | 0 | 0 | 1
ERC_WEST_natural_gas_fired_combined_cycle_3 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 16291 | 0 | 0 | 4.495 | 0 | 8.035 | west_south_central_reference_naturalgas | 106 | 90.959 | 2 | 6 | 6 | 1 | 1 | 1 | 0.264 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | Natural Gas Fired Combined Cycle | 0 | 0.93 | 0 | 0 | 0 | ERC_WEST | 3 | 0 | 0 | 1
ERC_WEST_natural_gas_fired_combined_cycle_4 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1202.6 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 12182 | 0 | 0 | 3.515 | 0 | 6.942 | west_south_central_reference_naturalgas | 601.3 | 90.959 | 2 | 6 | 6 | 1 | 1 | 1 | 0.386 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | Natural Gas Fired Combined Cycle | 0 | 0.93 | 0 | 0 | 0 | ERC_WEST | 4 | 0 | 0 | 1
ERC_WEST_natural_gas_fired_combustion_turbine_1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 336 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 9637 | 0 | 0 | 5.06 | 0 | 10.803 | west_south_central_reference_naturalgas | 168 | 117.941 | 3.5 | 1 | 1 | 1 | 1 | 1 | 0.446 | 0 | 1 | 1 | 0 | 0 | 0.63 | 1.26 | 0 | 0 | Natural Gas Fired Combustion Turbine | 0 | 0.93 | 0 | 0 | 0 | ERC_WEST | 1 | 0 | 0 | 1
ERC_WEST_onshore_wind_turbine_1 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 4276.202 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.21 | None | 305.443 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Onshore Wind Turbine | 0 | 0.8 | 0 | 1 | 1 | ERC_WEST | 1 | 0 | 0 | 1
ERC_WEST_solar_photovoltaic_1 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 7375.778 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.149 | None | 160.343 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | Solar Photovoltaic | 0 | 0.8 | 0 | 1 | 1 | ERC_WEST | 1 | 0 | 0 | 1
ERC_REST_naturalgas_ccccsavgcf_conservative_0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 156233.436 | 0 | 0 | 65100 | 0 | 0 | 5.73 | 0 | 7.159 | west_south_central_reference_naturalgas_ccs90 | 377 | 97 | 0.2 | 4 | 4 | 0.64 | 0.64 | 1 | 0.5 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | NaturalGas_CCCCSAvgCF_Conservative | 0.93 | 0 | 0 | 0 | 0 | ERC_REST | 0 | 0 | 0.9 | 1
ERC_REST_naturalgas_ccavgcf_moderate_0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 77420.7711 | 0 | 0 | 27300 | 0 | 0 | 1.74 | 0 | 6.363 | west_south_central_reference_naturalgas | 573 | 61 | 0.2 | 4 | 4 | 1 | 1 | 1 | 0.3 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | NaturalGas_CCAvgCF_Moderate | 0.93 | 0 | 0 | 0 | 0 | ERC_REST | 0 | 0 | 0 | 1
ERC_REST_naturalgas_ctavgcf_moderate_0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 64024.307 | 0 | 0 | 20900 | 0 | 0 | 4.94 | 0 | 9.717 | west_south_central_reference_naturalgas | 237 | 140 | 0.19 | 0 | 0 | 1 | 1 | 1 | 0.25 | 0 | 1 | 1 | 0 | 0 | 0.63 | 1.26 | 0 | 0 | NaturalGas_CTAvgCF_Moderate | 0.93 | 0 | 0 | 0 | 0 | ERC_REST | 0 | 0 | 0 | 1
ERC_REST_battery_moderate_0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 17257.9134 | 10515.6701 | 0 | 4633.55 | 2823.34 | 0 | 0 | 0.15 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0.92 | 0.92 | 1 | 10 | 0 | 0 | 0 | 0 | Battery_*_Moderate | 0.95 | 0 | 0 | 0 | 0 | ERC_REST | 0 | 0 | 0 | 0
ERC_REST_nuclear_nuclear_moderate_0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 315589.1738 | 0 | 0 | 144972.332 | 0 | 0 | 2.3518 | 0 | 10.455 | west_south_central_reference_uranium | 1000 | 1000 | 0 | 24 | 24 | 0.25 | 0.25 | 1 | 0.3 | 0 | 1 | 1 | 0 | 0 | 0.041667 | 0.083333 | 0 | 0 | Nuclear_Nuclear_Moderate | 0.93 | 0 | 0 | 0 | 1 | ERC_REST | 0 | 0 | 0 | 1
ERC_REST_offshorewind_class10_moderate_floating_0_1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 10146 | -1 | -1 | 0 | 0 | 0 | 267419.4896 | 0 | 0 | 56095.9898 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | OffShoreWind_Class10_Moderate_floating_0 | 0.8 | 0 | 0 | 1 | 1 | ERC_REST | 1 | 0 | 0 | 1
ERC_REST_utilitypv_class1_moderate_0_2_1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 3999844.245 | -1 | -1 | 0 | 0 | 0 | 35360.5306 | 0 | 0 | 15390.4862 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | UtilityPV_Class1_Moderate_0.2 | 0.8 | 0 | 0 | 1 | 1 | ERC_REST | 1 | 4776.1944 | 0 | 1
ERC_REST_utilitypv_class1_moderate_0_2_2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 4206231.815 | -1 | -1 | 0 | 0 | 0 | 35360.5306 | 0 | 0 | 15390.4862 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | UtilityPV_Class1_Moderate_0.2 | 0.8 | 0 | 0 | 1 | 1 | ERC_REST | 2 | 10961.9974 | 0 | 1
ERC_REST_utilitypv_class1_moderate_0_2_3 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 662312.0284 | -1 | -1 | 0 | 0 | 0 | 35360.5306 | 0 | 0 | 15390.4862 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | UtilityPV_Class1_Moderate_0.2 | 0.8 | 0 | 0 | 1 | 1 | ERC_REST | 3 | 23726.2104 | 0 | 1
ERC_REST_landbasedwind_class4_moderate_1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 205899.9469 | -1 | -1 | 0 | 0 | 0 | 57918.2949 | 0 | 0 | 34568.125 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | LandbasedWind_Class4_Moderate_ | 0.8 | 0 | 0 | 1 | 1 | ERC_REST | 1 | 7504.7755 | 0 | 1
ERC_REST_landbasedwind_class4_moderate_2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 218644.0481 | -1 | -1 | 0 | 0 | 0 | 57918.2949 | 0 | 0 | 34568.125 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | LandbasedWind_Class4_Moderate_ | 0.8 | 0 | 0 | 1 | 1 | ERC_REST | 2 | 8765.2263 | 0 | 1
ERC_REST_landbasedwind_class4_moderate_3 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 81916.1063 | -1 | -1 | 0 | 0 | 0 | 57918.2949 | 0 | 0 | 34568.125 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | LandbasedWind_Class4_Moderate_ | 0.8 | 0 | 0 | 1 | 1 | ERC_REST | 3 | 14198.1718 | 0 | 1
ERC_WEST_naturalgas_ccccsavgcf_conservative_0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 156233.436 | 0 | 0 | 65100 | 0 | 0 | 5.73 | 0 | 7.159 | west_south_central_reference_naturalgas_ccs90 | 377 | 97 | 0.2 | 4 | 4 | 0.64 | 0.64 | 1 | 0.5 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | NaturalGas_CCCCSAvgCF_Conservative | 0 | 0.93 | 0 | 0 | 0 | ERC_WEST | 0 | 0 | 0.9 | 1
ERC_WEST_naturalgas_ccavgcf_moderate_0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 77420.7711 | 0 | 0 | 27300 | 0 | 0 | 1.74 | 0 | 6.363 | west_south_central_reference_naturalgas | 573 | 61 | 0.2 | 4 | 4 | 1 | 1 | 1 | 0.3 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | NaturalGas_CCAvgCF_Moderate | 0 | 0.93 | 0 | 0 | 0 | ERC_WEST | 0 | 0 | 0 | 1
ERC_WEST_naturalgas_ctavgcf_moderate_0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 64024.307 | 0 | 0 | 20900 | 0 | 0 | 4.94 | 0 | 9.717 | west_south_central_reference_naturalgas | 237 | 140 | 0.19 | 0 | 0 | 1 | 1 | 1 | 0.25 | 0 | 1 | 1 | 0 | 0 | 0.63 | 1.26 | 0 | 0 | NaturalGas_CTAvgCF_Moderate | 0 | 0.93 | 0 | 0 | 0 | ERC_WEST | 0 | 0 | 0 | 1
ERC_WEST_battery_moderate_0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 17257.9134 | 10515.6701 | 0 | 4633.55 | 2823.34 | 0 | 0 | 0.15 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0.92 | 0.92 | 1 | 10 | 0 | 0 | 0 | 0 | Battery_*_Moderate | 0 | 0.95 | 0 | 0 | 0 | ERC_WEST | 0 | 0 | 0 | 0
ERC_WEST_nuclear_nuclear_moderate_0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 315589.1738 | 0 | 0 | 144972.332 | 0 | 0 | 2.3518 | 0 | 10.455 | west_south_central_reference_uranium | 1000 | 1000 | 0 | 24 | 24 | 0.25 | 0.25 | 1 | 0.3 | 0 | 1 | 1 | 0 | 0 | 0.041667 | 0.083333 | 0 | 0 | Nuclear_Nuclear_Moderate | 0 | 0.93 | 0 | 0 | 1 | ERC_WEST | 0 | 0 | 0 | 1
ERC_WEST_utilitypv_class1_moderate_0_2_1 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 2367420.922 | -1 | -1 | 0 | 0 | 0 | 35360.5306 | 0 | 0 | 15390.4862 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | UtilityPV_Class1_Moderate_0.2 | 0 | 0.8 | 0 | 1 | 1 | ERC_WEST | 1 | 7554.1761 | 0 | 1
ERC_WEST_utilitypv_class1_moderate_0_2_2 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 2040755.643 | -1 | -1 | 0 | 0 | 0 | 35360.5306 | 0 | 0 | 15390.4862 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | UtilityPV_Class1_Moderate_0.2 | 0 | 0.8 | 0 | 1 | 1 | ERC_WEST | 2 | 16007.82 | 0 | 1
ERC_WEST_landbasedwind_class4_moderate_1 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 229446.5126 | -1 | -1 | 0 | 0 | 0 | 57918.2949 | 0 | 0 | 34568.125 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | LandbasedWind_Class4_Moderate_ | 0 | 0.8 | 0 | 1 | 1 | ERC_WEST | 1 | 10793.3674 | 0 | 1
ERC_PHDL_naturalgas_ccccsavgcf_conservative_0 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 156233.436 | 0 | 0 | 65100 | 0 | 0 | 5.73 | 0 | 7.159 | west_south_central_reference_naturalgas_ccs90 | 377 | 97 | 0.2 | 4 | 4 | 0.64 | 0.64 | 1 | 0.5 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | NaturalGas_CCCCSAvgCF_Conservative | 0 | 0 | 0.93 | 0 | 0 | ERC_PHDL | 0 | 0 | 0.9 | 1
ERC_PHDL_naturalgas_ccavgcf_moderate_0 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 77420.7711 | 0 | 0 | 27300 | 0 | 0 | 1.74 | 0 | 6.363 | west_south_central_reference_naturalgas | 573 | 61 | 0.2 | 4 | 4 | 1 | 1 | 1 | 0.3 | 0 | 1 | 1 | 0 | 0 | 0.10667 | 0.21333 | 0 | 0 | NaturalGas_CCAvgCF_Moderate | 0 | 0 | 0.93 | 0 | 0 | ERC_PHDL | 0 | 0 | 0 | 1
ERC_PHDL_naturalgas_ctavgcf_moderate_0 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 64024.307 | 0 | 0 | 20900 | 0 | 0 | 4.94 | 0 | 9.717 | west_south_central_reference_naturalgas | 237 | 140 | 0.19 | 0 | 0 | 1 | 1 | 1 | 0.25 | 0 | 1 | 1 | 0 | 0 | 0.63 | 1.26 | 0 | 0 | NaturalGas_CTAvgCF_Moderate | 0 | 0 | 0.93 | 0 | 0 | ERC_PHDL | 0 | 0 | 0 | 1
ERC_PHDL_battery_moderate_0 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 17257.9134 | 10515.6701 | 0 | 4633.55 | 2823.34 | 0 | 0 | 0.15 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0.92 | 0.92 | 1 | 10 | 0 | 0 | 0 | 0 | Battery_*_Moderate | 0 | 0 | 0.95 | 0 | 0 | ERC_PHDL | 0 | 0 | 0 | 0
ERC_PHDL_nuclear_nuclear_moderate_0 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | -1 | -1 | -1 | 0 | 0 | 0 | 315589.1738 | 0 | 0 | 144972.332 | 0 | 0 | 2.3518 | 0 | 10.455 | west_south_central_reference_uranium | 1000 | 1000 | 0 | 24 | 24 | 0.25 | 0.25 | 1 | 0.3 | 0 | 1 | 1 | 0 | 0 | 0.041667 | 0.083333 | 0 | 0 | Nuclear_Nuclear_Moderate | 0 | 0 | 0.93 | 0 | 1 | ERC_PHDL | 0 | 0 | 0 | 1
ERC_PHDL_utilitypv_class1_moderate_0_2_1 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 380534.1792 | -1 | -1 | 0 | 0 | 0 | 35360.5306 | 0 | 0 | 15390.4862 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | UtilityPV_Class1_Moderate_0.2 | 0 | 0 | 0.8 | 1 | 1 | ERC_PHDL | 1 | 7113.9289 | 0 | 1
ERC_PHDL_utilitypv_class1_moderate_0_2_2 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 286143.6181 | -1 | -1 | 0 | 0 | 0 | 35360.5306 | 0 | 0 | 15390.4862 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | UtilityPV_Class1_Moderate_0.2 | 0 | 0 | 0.8 | 1 | 1 | ERC_PHDL | 2 | 12444.4175 | 0 | 1
ERC_PHDL_landbasedwind_class4_moderate_1 | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 33590.149 | -1 | -1 | 0 | 0 | 0 | 57918.2949 | 0 | 0 | 34568.125 | 0 | 0 | 0 | 0 | 0 | None | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | LandbasedWind_Class4_Moderate_ | 0 | 0 | 0.8 | 1 | 1 | ERC_PHDL | 1 | 9062.7278 | 0 | 1
Resource | Zone | Capacity
Hydroelectric | 1 | 483.9
Onshore wind | 1 | 2812.8
Utility Solar | 1 | 6563.28
NGCC | 1 | 34677.723
NGCT | 1 | 4549.196
Fission | 1 | 5120
Hydroelectric | 2 | 9.552
Onshore wind | 2 | 4276.202
Utility Solar | 2 | 7375.778
NGCC | 2 | 3303.198
NGCT | 2 | 336
Fission | 2 | 0
Hydroelectric | 3 | 0
Onshore wind | 3 | 588
Utility Solar | 3 | 0
NGCC | 3 | 0
NGCT | 3 | 0
Fission | 3 | 0

## Baseline grid
| Onshore Wind Turbine | Conventional Hydroelectric | Solar Photovoltaic | Natural Gas Fired Combined Cycle | Natural Gas Fired Combustion Turbine |  | Onshore Wind Turbine | Conventional Hydroelectric | Natural Gas Fired Combined Cycle | Natural Gas Fired Combined Cycle | Natural Gas Fired Combined Cycle | Natural Gas Fired Combined Cycle | Natural Gas Fired Combustion Turbine | Natural Gas Fired Combustion Turbine | Nuclear | Nuclear | Onshore Wind Turbine | Small Hydroelectric | Solar Photovoltaic | Natural Gas Fired Combined Cycle | Natural Gas Fired Combined Cycle | Natural Gas Fired Combined Cycle | Natural Gas Fired Combined Cycle | Natural Gas Fired Combustion Turbine | Onshore Wind Turbine | Solar Photovoltaic | NaturalGas_CCCCSAvgCF_Conservative | NaturalGas_CCAvgCF_Moderate | NaturalGas_CTAvgCF_Moderate | Battery_*_Moderate | Nuclear_Nuclear_Moderate | OffShoreWind_Class10_Moderate_floating_0 | UtilityPV_Class1_Moderate_0.2 | UtilityPV_Class1_Moderate_0.2 | UtilityPV_Class1_Moderate_0.2 | LandbasedWind_Class4_Moderate_ | LandbasedWind_Class4_Moderate_ | LandbasedWind_Class4_Moderate_ | NaturalGas_CCCCSAvgCF_Conservative | NaturalGas_CCAvgCF_Moderate | NaturalGas_CTAvgCF_Moderate | Battery_*_Moderate | Nuclear_Nuclear_Moderate | UtilityPV_Class1_Moderate_0.2 | UtilityPV_Class1_Moderate_0.2 | LandbasedWind_Class4_Moderate_ | NaturalGas_CCCCSAvgCF_Conservative | NaturalGas_CCAvgCF_Moderate | NaturalGas_CTAvgCF_Moderate | Battery_*_Moderate | Nuclear_Nuclear_Moderate | UtilityPV_Class1_Moderate_0.2 | UtilityPV_Class1_Moderate_0.2 | LandbasedWind_Class4_Moderate_
[7 empty] | ERC_PHDL_onshore_wind_turbine_1 | ERC_REST_conventional_hydroelectric_1 | ERC_REST_natural_gas_fired_combined_cycle_1 | ERC_REST_natural_gas_fired_combined_cycle_2 | ERC_REST_natural_gas_fired_combined_cycle_3 | ERC_REST_natural_gas_fired_combined_cycle_4 | ERC_REST_natural_gas_fired_combustion_turbine_1 | ERC_REST_natural_gas_fired_combustion_turbine_2 | ERC_REST_nuclear_1 | ERC_REST_nuclear_2 | ERC_REST_onshore_wind_turbine_1 | ERC_REST_small_hydroelectric_1 | ERC_REST_solar_photovoltaic_1 | ERC_WEST_natural_gas_fired_combined_cycle_1 | ERC_WEST_natural_gas_fired_combined_cycle_2 | ERC_WEST_natural_gas_fired_combined_cycle_3 | ERC_WEST_natural_gas_fired_combined_cycle_4 | ERC_WEST_natural_gas_fired_combustion_turbine_1 | ERC_WEST_onshore_wind_turbine_1 | ERC_WEST_solar_photovoltaic_1 | ERC_REST_naturalgas_ccccsavgcf_conservative_0 | ERC_REST_naturalgas_ccavgcf_moderate_0 | ERC_REST_naturalgas_ctavgcf_moderate_0 | ERC_REST_battery_moderate_0 | ERC_REST_nuclear_nuclear_moderate_0 | ERC_REST_offshorewind_class10_moderate_floating_0_1 | ERC_REST_utilitypv_class1_moderate_0_2_1 | ERC_REST_utilitypv_class1_moderate_0_2_2 | ERC_REST_utilitypv_class1_moderate_0_2_3 | ERC_REST_landbasedwind_class4_moderate_1 | ERC_REST_landbasedwind_class4_moderate_2 | ERC_REST_landbasedwind_class4_moderate_3 | ERC_WEST_naturalgas_ccccsavgcf_conservative_0 | ERC_WEST_naturalgas_ccavgcf_moderate_0 | ERC_WEST_naturalgas_ctavgcf_moderate_0 | ERC_WEST_battery_moderate_0 | ERC_WEST_nuclear_nuclear_moderate_0 | ERC_WEST_utilitypv_class1_moderate_0_2_1 | ERC_WEST_utilitypv_class1_moderate_0_2_2 | ERC_WEST_landbasedwind_class4_moderate_1 | ERC_PHDL_naturalgas_ccccsavgcf_conservative_0 | ERC_PHDL_naturalgas_ccavgcf_moderate_0 | ERC_PHDL_naturalgas_ctavgcf_moderate_0 | ERC_PHDL_battery_moderate_0 | ERC_PHDL_nuclear_nuclear_moderate_0 | ERC_PHDL_utilitypv_class1_moderate_0_2_1 | ERC_PHDL_utilitypv_class1_moderate_0_2_2 | ERC_PHDL_landbasedwind_class4_moderate_1
[7 empty] | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
[7 empty] | 1817235.7692 | 400256.5909 | 0 | 0 | 0 | 0 | 0 | 0 | 8192688.9626 | 7603671.0556 | 7432541.5087 | 8000.8154 | 10761287.4304 | 0 | 0 | 0 | 0 | 0 | 13391798.5079 | 16825610.1056 | 0 | 0 | 0 | 79140463.6375 | 23327773.3094 | 0.0039966 | 81828894.7872 | 0.067355 | 248564963.504 | 270452402.1692 | 0.02781 | 0.025837 | 0 | 0 | 0 | 266959.1485 | 0.038855 | 44085812.6867 | 0.33613 | 63472544.0966 | 0 | 0 | 0 | 2121.113 | 0.027388 | 1.3014 | 8129666.0523 | 21277955.8445
[7 empty] | 588 | 483.9 | 13281.507 | 3524.906 | 14390.01 | 3481.3 | 3640.896 | 908.3 | 2660 | 2460 | 2812.8 | 9.552 | 6563.28 | 1462.398 | 532.2 | 106 | 1202.6 | 336 | 4276.202 | 7375.778 | 0 | 0 | 1.5011e-08 | 47154.3976 | 11156.9277 | 1.6877e-06 | 49334.3132 | 5.4559e-05 | 141363.3278 | 81717.8041 | 1.3793e-05 | 1.4297e-05 | 0 | 0 | 2.6784e-07 | 534.0378 | 9.1826e-06 | 19457.4351 | 0.00026458 | 18105.644 | 0 | 0 | 814.6245 | 4.4328 | 6.7464e-06 | 0.00093193 | 4832.8244 | 6166.3575
[7 empty] | 0.3528 | 0.094423 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35159 | 0.35285 | 0.30164 | 0.095617 | 0.18717 | 0 | 0 | 0 | 0 | 0 | 0.3575 | 0.26041 | 0 | 0 | 0 | 0 | 0.23868 | 0 | 0.18934 | 0 | 0.20072 | 0.37781 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25865 | 0 | 0.40019 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19203 | 0.39391
| Onshore Wind Turbine | Conventional Hydroelectric | Natural Gas Fired Combined Cycle | Natural Gas Fired Combustion Turbine | Nuclear | Small Hydroelectric | Solar Photovoltaic | NaturalGas_CCCCSAvgCF_Conservative | NaturalGas_CCAvgCF_Moderate | NaturalGas_CTAvgCF_Moderate | Battery_*_Moderate | Nuclear_Nuclear_Moderate | OffShoreWind_Class10_Moderate_floating_0 | UtilityPV_Class1_Moderate_0.2 | LandbasedWind_Class4_Moderate_
| Onshore Wind Turbine | Conventional Hydroelectric | Natural Gas Fired Combined Cycle | Natural Gas Fired Combustion Turbine | Nuclear | Small Hydroelectric | Solar Photovoltaic | NaturalGas_CCCCSAvgCF_Conservative | NaturalGas_CCAvgCF_Moderate | NaturalGas_CTAvgCF_Moderate | Battery_*_Moderate | Nuclear_Nuclear_Moderate | OffShoreWind_Class10_Moderate_floating_0 | UtilityPV_Class1_Moderate_0.2 | LandbasedWind_Class4_Moderate_
1 | 2812.8 | 483.9 | 34677.723 | 4549.196 | 5120 | 9.552 | 6563.28 | 0 | 0 | 1.5011e-08 | 47154.3976 | 11156.9277 | 1.6877e-06 | 190697.6411 | 81717.8041
| Onshore Wind Turbine | Conventional Hydroelectric | Natural Gas Fired Combined Cycle | Natural Gas Fired Combustion Turbine | Nuclear | Small Hydroelectric | Solar Photovoltaic | NaturalGas_CCCCSAvgCF_Conservative | NaturalGas_CCAvgCF_Moderate | NaturalGas_CTAvgCF_Moderate | Battery_*_Moderate | Nuclear_Nuclear_Moderate | OffShoreWind_Class10_Moderate_floating_0 | UtilityPV_Class1_Moderate_0.2 | LandbasedWind_Class4_Moderate_
2 | 4276.202 | 0 | 3303.198 | 336 | 0 | 0 | 7375.778 | 0 | 0 | 2.6784e-07 | 534.0378 | 9.1826e-06 | 0 | 19457.4354 | 18105.644
| Onshore Wind Turbine | Conventional Hydroelectric | Natural Gas Fired Combined Cycle | Natural Gas Fired Combustion Turbine | Nuclear | Small Hydroelectric | Solar Photovoltaic | NaturalGas_CCCCSAvgCF_Conservative | NaturalGas_CCAvgCF_Moderate | NaturalGas_CTAvgCF_Moderate | Battery_*_Moderate | Nuclear_Nuclear_Moderate | OffShoreWind_Class10_Moderate_floating_0 | UtilityPV_Class1_Moderate_0.2 | LandbasedWind_Class4_Moderate_
3 | 588 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 814.6245 | 4.4328 | 6.7464e-06 | 0 | 4832.8254 | 6166.3575
| Onshore Wind Turbine | Conventional Hydroelectric | Natural Gas Fired Combined Cycle | Natural Gas Fired Combustion Turbine | Nuclear | Small Hydroelectric | Solar Photovoltaic | NaturalGas_CCCCSAvgCF_Conservative | NaturalGas_CCAvgCF_Moderate | NaturalGas_CTAvgCF_Moderate | Battery_*_Moderate | Nuclear_Nuclear_Moderate | OffShoreWind_Class10_Moderate_floating_0 | UtilityPV_Class1_Moderate_0.2 | LandbasedWind_Class4_Moderate_
1 | 30.16% | 9.442% | 0% | 0% | 70.44% | 9.562% | 18.72% | 0% | 0% | 0% | 0% | 23.87% | 0% | 39.01% | 37.78%
| Onshore Wind Turbine | Conventional Hydroelectric | Natural Gas Fired Combined Cycle | Natural Gas Fired Combustion Turbine | Nuclear | Small Hydroelectric | Solar Photovoltaic | NaturalGas_CCCCSAvgCF_Conservative | NaturalGas_CCAvgCF_Moderate | NaturalGas_CTAvgCF_Moderate | Battery_*_Moderate | Nuclear_Nuclear_Moderate | OffShoreWind_Class10_Moderate_floating_0 | UtilityPV_Class1_Moderate_0.2 | LandbasedWind_Class4_Moderate_
2 | 35.75% | 0% | 0% | 0% | 0% | 0% | 26.04% | 0% | 0% | 0% | 0% | 0% | 0% | 25.86% | 40.02%
| Onshore Wind Turbine | Conventional Hydroelectric | Natural Gas Fired Combined Cycle | Natural Gas Fired Combustion Turbine | Nuclear | Small Hydroelectric | Solar Photovoltaic | NaturalGas_CCCCSAvgCF_Conservative | NaturalGas_CCAvgCF_Moderate | NaturalGas_CTAvgCF_Moderate | Battery_*_Moderate | Nuclear_Nuclear_Moderate | OffShoreWind_Class10_Moderate_floating_0 | UtilityPV_Class1_Moderate_0.2 | LandbasedWind_Class4_Moderate_
3 | 35.28% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 19.2% | 39.39%